## Slide 1
DevOps to the Metal
Tom Jachmann Head of Software, Computed Tomography, Siemens Healthineers

## Slide 2: Siemens Healthineers (numbers prior to the Varian merger)
1) Revenue FY 2020 2) AdvaMedDX, “A Policy Primer on Diagnostics”, June 2011, p. 3
of global top 100
providers partner
with us
>90%
patient
touch points every hour
~240,000
Revenue1)
€14.5bn
in developing
countries
>1.4bn people
Access to care for
highly skilled
employees
~54,000
IPRs, thereof 13,500 granted patents
18,500+
in majority of
businesses
Market leader
countries with direct presence
>70
of critical clinical decisions are influenced by the type of technology we provide2)
>70%
installed base
~600,000
2
Thomas Jachmann | Computed Tomography
Notes: HOOD05162003156483
(partly re-used from HOOD05162003142082)
(partly re-used from HOOD05162003070821)
(partly re-used from HOOD05162003049771)
(partly re-used from HOOD05162003038686)
(partly re-used from HOOD05162002994040)
(partly re-used from HOOD05162002968065)
(re-use HOOD05162002913858)
(re-use HOOD05162002823352)
Main Messages
We are a significant player in the healthcare industry.
We bring the power of a globally operating corporation.
SPEAKER TEXT LONG
But why would you team up with Siemens Healthineers? Let us first share some facts & figures about our company:
With about 53,000 employees in more than 70 countries worldwide, we are committed to the success of you as our customers as well as to the health of your patients
We are the world market leader in most of our businesses and the market leader in most countries
With 14.5 bn revenue, we are one of the five largest MedTech companies worldwide
We are steadily reinvesting in R&D in pursuit of the next generation of technologies across our broad portfolio - Our R&D activities resulted in more than 18,500 Intellectual Property Rights (IPRs), thereof 13,500 granted patents
More than 70% of critical clinical decisions are influenced by the type of technology that we have in our portfolio
> 240,000 patients every hour benefit from care based on our equipment
> 1.4 bn people in developing countries have access to our imaging technologies

## Slide 3: Innovating CT throughout a strong portfolio
For research use only. Not for clinical use.
SOMATOM On.site is pending 510(k) clearance, and is not yet commercially available in the United States.
Artificial Intelligence with the AI-Rad Companion
Low Dose Optimized Workflows
SOMATOM go.Top
with myExam Companion
SOMATOM go.Now
with myExam Companion
SOMATOM Force
SOMATOM Drive
SOMATOM Edge Plus
UpTime Services • UpSpeed Services • UpSkill Services • UpLift Services
syngo.via Frontier1)
Oncology
Pediatrics
Dual Energy
Acute Care
Neurology
Intervention
Cardiology
syngo.via
SOMATOM Definition Edge
Single Source CT
Dual Source CT
Single Source CT
SOMATOM X.cite
with myExam Companion
ecoline
NEW
SOMATOM go.All
with myExam Companion
SOMATOM go.Up
with myExam Companion
Mobile Head CT
SOMATOM On.site2
with myExam Companion
NEW
Thomas Jachmann | Computed Tomography

## Slide 4: The environment Cyber-physical system of systems: Computed Tomography scanners
Challenges
Growing complexity (both product and the organization)
Transforming from a hardware driven to a Software driven company causing functionality realized in Software to grow rapidly
Systems become increasingly interconnected, expanding the complexity beyond the boundaries of systems
Growing compatibility concerns between parts of large, complex systems because various parts move at different “pace of change”, especially combining Hardware and Software
Fast pace of change of modern software technologies requires clear separation of concerns
Accelerating innovation cycles
Thomas Jachmann | Computed Tomography
Notes: War story. DevOps with the neighbor

## Slide 5: How to deploy regularly on the target system Difference to cloud-based SaaS
Wireless Remote Ctrl
Network Proc.
Tube Control
Detector
Device Module
Power Module
Generator Control
Table Control
Motion Ctrl 3
Motion Ctrl 4
Motion Ctrl 1/2
Remote Ctrl
Phys Meas.
Master Ctrl
Embedded Controller
Reconstruction System
Cloud Application  One production system Homogenous System/SW Deployment
Application
Scanner Application  more than 25000 systems Heterogenous System/SW Deployment
Application Package
Control System
3rd party Updater
SW Updater/Development Item
Embedded Device
Thomas Jachmann | Computed Tomography
Notes: Car example?
Install the first system, downgrade to old version for „Continuous“  FPGA, …
Defined system state on a scanner, reproducible

## Slide 6: Challenge of “System-DevOps” in a regulated environment Vision: “Release as a Non-Event”
  Continuous Operations
  Continuous Deployment
  Continuous Delivery
  Continuous Integration & Test
  Continuous Build
Development
Operations
V&V
Thomas Jachmann | Computed Tomography
Operate & Monitor
Code
Build
Test
Release
Deploy
Plan
and here’s our “Ops”
Integration Test
Regulatory Testing….
Deploy & Test in user equiv. Environment
“Regulatory Wall”
Development (informal)
Verification & Validation (formal)
Notes: Benefits of running feature … everything before is just a liability
Integration effort is integrated
Product Management can verify the actual customer view … and correct things if needed
Example: accidentally broken functionality -> difficutlt to nail down the responsible change -> not so if it’s only one day of dev
How much time is actually spent on integration after “everyone finshed”?
 Cone of Effort the later issues need to be analyzed
RUNNING FEATURE…
.. Not the ONLY metric but one , but this

## Slide 7: Fully Automated System Deployment Scope and Achievements
Deployment & Test
Code Change
6 Weeks pre-planned and fixed Milestone Cadence
Daily
Continuous SW integration
Automatic System installation
Efficient SW integration
Thomas Jachmann | Computed Tomography
4 Sites (DE, SK, IN, CN), > 150 SW Developers, 300 build & test systems, >130 individual Build-Queues
Notes: shrink long time periods: Make hypothesis, conduct experiments.

## Slide 8: Example Plateaus for Continuous System Integration
System Integration as a "non-event"
On demand automated deployment
Inter-Sprint milestone feedback
Daily feedback on installability
Sys-Integration each milestone
Green to Green
Early feedback on system state ensure smooth milestones
Avoid changes that break system during development of features
Secure the base
System Engineering
System Engineering
System Engineering and SW Development
Installation and SW Development
Main Stakeholder
Why
Goal
Plateaus
1
2
3
4
Test
Thomas Jachmann | Computed Tomography

## Slide 9: Lessons learned Keep moving in the right direction
Balanced stimulus
Avoid that your endeavor stalls by getting lost in the details
  Don’t rush to the next topic …
  …but understand when a plateau is reached and reasonably secured …
  …and then set a new stimulus/direction
Reachable beneficial plateaus
"Musts" for each plateau
  Goals must be reachable
  People must understand what benefit it brings for them
  Celebrate small victories along the way
Conduct experiments, measure results
Complex environments require
Probe-Sense-Respond
Next plateau
Sustaining
Simple
Complex
Complicated
Chaotic
S
KPI
KPI
KPI
KPI
Thomas Jachmann | Computed Tomography
Notes: Conduct experiements, measure results.
Focus on human angle: Wins are visible, Recognize successes
smaller chunks = more opportunitites for motiviation

## Slide 10: Example Plateaus for Continuous Integration
t
h
Integration
Unit
Subsystem
All
t
Test
Integration
Unit
Subsystem
All
Integration
Unit
Subsystem
System
High autotest
coverage
Scaling Test Infrastructure
Balanced Test Pyramid ("Shift Left")
Test Pyramid
Thomas Jachmann | Computed Tomography
Notes: https://commons.wikimedia.org/wiki/File:Deming_PDCA_cycle.PNG
Expect and deal with this evolution. Uncovering problems is a value. Celebrate the skunks

## Slide 11: DevOps brings transparency …
© Siemens Healthineers, 2021
… and uncovers all of the (bad) things hidden underneath
Thomas Jachmann | Computed Tomography
11

## Slide 12
No breaking
changes
Modularization, Sandboxing
Field transparency
Fast Feedback
Continuous delivery of value
Efficient way of working
Craftsmanship and Continuous learning
Efficient tooling, automation
High autotest coverage
Balanced Test Pyramid ("Shift Left")
Test Pyramid
Digital Twin
Efficient Auto Testing and TDD
Scaling Infrastructure
Robust Test Infrastructure
Test Automation
FLOW
Release independence of modules
Smooth System installation
High product quality
DevOps is a journey
SW Integration
SW verified SW
Trunk-based development
Efficient SW development
Operations
Smooth SW installation
Stable and scaling Infrastructure
Automatic System installation
Minimize downtime
Automatic worldwide deployment
Robust Updates and Upgrade
Ability to Continuously release
Continuous System Integration
Minimize interruption of customer schedule
Continuous SW
Verification
Continuous Deployment
Thomas Jachmann | Computed Tomography
Scaling
Infrastructure
Continuous SW integration
Efficient SW integration
Artifact based integration
Robust
Packaging
Infrastructure
as Code
Background image: https://www.mapsland.com/europe/large-detailed-satellite-map-of-europe-at-night
Notes: “Many roads lead to Rome” IaC = Infrastructure as Code, auch Desired State Configuration DSC im Allgemeinen

## Slide 13
Culture and Mindset for continuous improvements is a decisive factor throughout the organization (from development teams to top management)
1
Establishing automated fast feedback cycles, even when not yet doing continuous delivery all the way to the end customer – it is important to steer and learn
2
Pick the right KPIs that allow you to have success stories and celebrate them
3
Strive to meet the overall goals of the various involved roles, but allow freedom on *how* to achieve them (e.g. mostly automated with final sanity check vs. manual). Create wins for them.
4
Accept that approaches will not show the results you expect – remember it is a complex environment with only emerging practices. So: Probe-Sense-Respond
5
Takeaways
DevOps is not about a destination, it’s about the journey
Thomas Jachmann | Computed Tomography
Notes: Empbrace scientific method, the journey

## Slide 14: Credits
Thank you to the following experts involved in the creation of the presentation:
Frances Paulisch
Chris Drexler
Dave Malgiaritta
Jochen Michel
Siemens Healthineers
  SHS DI CT R&D ISA
  Siemens Healthcare GmbH
  Siemensstr. 3
  91301 Forchheim, Germany
  siemens-healthineers.com
Thomas Jachmann | Computed Tomography